NIT

Name of work                   -	Supply, installation, testing and commissioning of Air conditioners at IGNOU Campus, Maidan Garhi, New Delhi

Estimated cost                   -	Rs. 38,31,240/-

Earnest Money                  -	Rs. 76,625/-

Security deposit-	5% of tendered cost

Performance Guarantee   -	5% of tendered cost

Time allowed                     -	3 Months

Certified  that this  NIT contains _____ Pages

EXECUTIVE ENGINEER (ELECT)

INDIRA GANDHI NATIONAL OPEN UNIVERSITY

CONSTRUCTION & MAINTENANCE DIVISION

MAIDAN GARHI : NEW DELHI- 110 068

NOTICE RE-INVITING TENDER

The Executive Engineer (E) Construction & Maintenance Division re-invites on behalf of Vice Chancellor, Indira Gandhi National Open University, sealed item rate tenders in two bid system for the following work from the reputed manufacturer or authorized dealer/distributors of window/split air-conditioners.  The tenders will be sold only on production of dealer/distributorship certificate (manufacturer directly applied are exempted for this certificate), TIN No, Pan No., latest challan for VAT deposit and proof for satisfactory completion of three similar works each costing to 40% of the estimated cost or two works each costing to 60% of the estimated cost or one work costing to 80% of the estimated cost during the last five years, duly certified by the competent authority of the client department. All the original documents must accompany by the agency while applying  for issue of tenders.

| Name of work | Estimated cost (Rs) | Earnest Money (Rs) | Cost of tender (N/R) | Last date of sale of tenders | Date of opening of tenders | Time allowed |
| --- | --- | --- | --- | --- | --- | --- |
| Supply, installation, testing and commissioning of air-conditioners at IGNOU Campus, Maidan Garhi, New Delhi | 38,31,240/- | 76,625/- | 500/- | 16.04.2013 | 18.04.2013 | 03 months |

Tender forms and conditions can be obtained from the office of the undersigned, Indira Gandhi National Open University, Construction & Maintenance Division, Maidan Garhi, New Delhi- 110 068 on any working day upto 2.30 p.m. on the date and time given above.  The time for submission of tenders is upto 3.00 p.m. which shall be opened on the same day at 3.30 p.m. on the date given above.

Note:- The tender documents in the website are for information only. Downloaded tender documents will not be considered for bidding. Contractors/agencies have to act as per above NIT.

Executive Engineer (Elect)

INDIRA GANDHI NATIONAL OPEN UNIVERSITY

CONSTRUCTION & MAINTENANCE DIVISION

MAIDAN GARHI: NEW DELHI- 110 068

NOTICE RE-INVITING TENDER

- Sealed item Rate tenders in two bid system are re-invited on behalf of Vice Chancellor, IGNOU from the reputed manufactures or its authorized dealer/distributors of window/split air-conditioners for the work of ‘Supply, installation, testing and commissioning of Air-conditioners at IGNOU Campus Maidan Garhi, New Delhi’.

- The enlistment of the contractor should be valid on the last date of sale of tenders.

- In case only the last date of sale of tender is extended, the enlistment of contractor should be valid on the original date of sale of tenders.

- In case both the last date of receipt of application and sale of tenders are extended, the enlistment of contractor should be valid on either of the two dates i.e. original date of sale of tender or the extended date of sale of tenders.

- The work is estimated to cost Rs. 38,31,240/- (Rs. Thirty eight  lacs thirty one  thousand two hundred forty only).  This estimate, however, is given merely as a rough guide.

- The authority competent to approve NIT for the combined cost and belonging to the major discipline will consolidate NITs for calling the tenders.  He will also nominate Division which will deal with all matters relating to the invitation of tenders.  For composite tenders, besides indicating the combined estimated cost put to tender, should clearly indicate the estimated cost of each component separately.  The eligibility of tenderer will correspond to the combined estimated cost of different components put to tender.

- The tenders will be issued to eligible contractors provided they produce definite proof from the appropriate authority, which shall be to the satisfaction of the competent authority of having satisfactorily completed similar works of magnitude as specified in the advertisement.

- Agreement shall be drawn with the successful tenderer on prescribed Form No. CPWD-8 which is available as a Govt. of India publication.  Tenderer shall quote his rates as per various terms and conditions of the said form which will form part of the agreement.

- The time allowed for carrying out the work will be 3 Months from the date of start as defined in the Schedule ‘F’ or from the first date of handing over the site, whichever is later, in accordance with the phasing, if any, indicated in the tender documents.

- The site for the work shall be made available in parts as specified below :

Presently site is available but will be made available as per the suitability of employee.

- Applications for issue of forms shall be received and tender documents shall be issued by ………………. (upto 2.30 p.m.).  Tender documents consisting of plans, specifications, the schedule of quantities of various classes of work be done and the set of terms and conditions of contract to be complied with by the contractor whose tender may be accepted and other necessary documents can be seen in the office of the Executive Engineer between hours of 11.00 a.m. & 4.00 p.m. upto _______ everyday except on Saturdays/Sundays and Public Holidays.  Tender documents, excluding standard for, will be issued from his office, during the hours specified above, on payment of   Rs.500/- in cash (non-refundable) as cost of tender.

- Earnest Money of Rs. 76,625/-  in shape of Pay Order/Demand Draft of a schedule Bank issued in favour of IGNOU, New Delhi should accompany the tender

- Tenders, which should always be placed in sealed envelope, with the name of work and due date written on the envelopes, will be received by …………………. upto 3.00 p.m. and will be opened by him or his authorized representative in his office on the same day at 3.30 p.m.

- The contractor, whose tender is accepted, will be required to furnish Performance Guarantee of 5% (Five percent) of the tendered amount within the period specified in Schedule ‘F’.  This guarantee shall be in the form of cash (in case guarantee amount is less than Rs. 10,000/-) or Deposit at call receipt of any scheduled bank/Banker’s cheque of any scheduled bank/Demand draft of any scheduled bank/Pay  order of any scheduled bank (in case guarantee amount is less than Rs. 1,00,000/-) or Government securities of Fixed deposit receipts or Guarantee bonds of any Scheduled bank or the State Bank of India in accordance with the prescribed form.

- Description of work as given at Page No. 1 may be seen.  Copies of other drawings and documents pertaining to the works will be open for inspection by the tenderers at the office of the above mentioned officer.  Tenderers are advised to inspect and examine the site and its surroundings and satisfy themselves before submitting their tenders as to the nature of the ground and sub-soil (so far as practicable), the form and nature of the site, the means of access to the site, the accommodation they may require and in general shall themselves obtain all necessary information as to risks, contingencies and other circumstances which may influence or affect their tender.  A tenderer shall be deemed to have full knowledge of the site whether he inspects it or not and no extra charges consequent on any misunderstanding or otherwise shall be allowed.  The tenderer shall be responsible for arranging and maintaining at his own cost all materials, tools and plants, water, electricity access, facilities for workers and all other services required for executing the work unless otherwise specifically provided for in the contract documents.  Submission of a tender by a tenderer implies that he has read this notice and all other contract documents and has made himself aware of the scope and specifications of the work to be done and of conditions and rates at which stores, tools and plants etc will be issued to him by the IGNOU and local conditions & other factors having a bearing on the execution of work.

- The competent authority on behalf of Vice Chancellor, Indira Gandhi National Open University does not bind itself to accept the lowest or any other tender and reserves to itself the authority to reject any or all tenders received without assignment of any reasons.  All tenders in which any of the prescribed condition is not fulfilled or any conditions including that of conditional rebate is put forth by the tenderer shall be summarily rejected.

- Canvassing whether directly or indirectly, in connection with tenders is strictly prohibited and the tenders submitted by the contractors who resorts to canvassing will be liable to rejection.

- The competent  authority on behalf of Vice Chancellor, Indira Gandhi National Open University reserves to himself the right of accepting the whole or any part of the tender and the tenderer shall be bound to perform the same at the rate quoted.

- The contractor shall not be permitted to tender for work in IGNOU (responsible for award and execution of contracts) in which his near relative is posted as Divisional Accountant or as an officer in any capacity between the grade of Suptd Engineer and Junior Engineer (both inclusive).  He shall also intimate the names of persons who are working with him in any capacity or are subsequently employed by him and who are near relative to any gazetted officer in the University.  Any breach of this condition by the contractor would render him liable to be removed from the approved list of the contractors of this department.

- No Engineer of gazetted rank or other gazetted officer employed in Engineering or Administrative duties in an Engineering deptt of the University is allowed to work as a contractor for a period of one year after his retirement from service, without the previous permission of the University authorities in writing.  The contract is liable to be cancelled if either the contractor or any of his employees is found any time to be such person who had not obtained the permission of the University as aforesaid before submission of the tender or engagement in the contractor’s service.

- The tender for the works shall remain open for acceptance for a period of ninety (90) days from the date of opening of tenders.  If any tenderer withdraws his tender before the said period or issue of letter of acceptance, whichever is earlier, or makes any modifications in the terms and conditions of the tender which are not acceptable to the deptt, then the University shall, without any other right or remedy, be at liberty to forfeit 50% of the said earnest money as aforesaid.  Further the tenderer shall not be allowed to participate in the re-tendering process of the work.

- This Notice Inviting Tender shall form a part of the contract document.  The successful tenderer/contractor, on acceptance of his tender by the Accepting authority, shall, within 15 days from the stipulated date of start of the work, sign the contract consisting of :

- The Notice Inviting Tender, all the documents including additional conditions, specifications and drawings, if any, forming the tender as issued at the time of invitation of tender and acceptance thereof together with any correspondence leading thereto.

- Standard CPWD form 8.

- For composite tenders

- The tenderer must associate with himself agencies of the appropriate class eligible to tender for the other components individually.

- It will be obligatory on the part of the tenderer to sign the tender document for all the components. (The schedule of quantities, conditions and special conditions etc).

- After the work is awarded, the contractor will have to enter into separate agreements for each component with the officer concerned.

- Executive Engineer in charge of minor component shall make interim payments in respect of minor component of work.  Executive Engineer Incharge of the major component shall make the payment against final bill of the composite work

- The Executive Engineer Incharge of the major component will call tenders for the composite work.  The cost of tender document and earnest money will be fixed with respect to the combined estimated cost put to tender for the composite tender.  Security deposit will be worked out separately for each component corresponding to the estimated cost of the respective component of woks.  The earnest money will become part of the security deposit of the major component of work.

- On acceptance of composite tender by the competent authority, the letter of award will be issued by the Executive Engineer Incharge of the major component on behalf of Vice Chancellor, IGNOU, making it clear in the letter of award that the contractor will have to execute separate agreements for different components of work with the concerned officers of the respective discipline.

EXECUTIVE ENGINEER (Elect)

Engineer Incharge, CMD

For and on behalf of Vice Chancellor, IGNOU

INDIRA GANDHI NATIONAL OPEN UNIVERSITY

CONSTRUCTION & MAINTENANCE DIVISION

MAIDAN GARHI : NEW DELHI- 110 068

Item Rate Tender

  - Tender for the work of ‘Supply, installation, testing and commissioning of air-conditioners at IGNOU Campus, Maidan Garhi, New Delhi’

- To be submitted by 3.00 p.m. on ………………………

- To be opened in presence of tenderers who may be present at 3.30 p.m. on …………………………………. in the office of the Executive Engineer (E).

Issued to _____________________________

Signature of the officer issuing the documents _______________________________

Date of issue ________

TENDER

I/We have read and examined the Notice Inviting Tender, schedule A,B,C,D,E& F.  Specifications applicable, drawings and design, General Rules and Directions of contract, clauses of contract, special conditions, Schedule of Rate and other contents in the tender document for the work.

I/We hereby tender for the execution of the work specified for the Vice Chancellor, IGNOU within the time specified in Schedule ‘F’ viz. schedule of quantities and in accordance in all respect with the specifications, designs, drawings and instructions in writing referred to in Rule-1 of General Rules and directions and in clause 11 of the conditions of the contract with such materials as are provided for, by, and in respect in accordance with, such conditions so far as applicable.

I/We agree to keep the tender open for ninety (90) days from the due date of its opening and not to make any modifications in its terms and conditions.

A sum of Rs. 76,625/-  has been deposited in Pay order/Demand Draft of a scheduled bank as earnest money.  If I/We fail to furnish the prescribed Performance guarantee within prescribed period, I/We agree that the said Vice Chancellor, IGNOU or his successors in office shall without prejudice to any  other right or remedy, be at liberty to forfeit the said earnest money absolutely.  Further, if I/We fail to commence work as specified, I/We agree that Vice Chancellor, IGNOU or his successors in office shall without prejudice to any other right or remedy available in law, be at liberty to forfeit the said earnest money and the performance guarantee absolutely, otherwise the said earnest money shall be retained by him towards security deposit to execute all the works referred to in the tender documents upon the terms and conditions contained or referred to therein and to carry out such deviations as may be ordered, upto maximum of the percentage mentioned in Schedule ‘F’ and those in excess of that limit at the rates to be determined in accordance with the provision contained in clauses of the tender form.

Further, I/We agree that in case of forfeiture of earnest money or both earnest money and Performance guarantee as aforesaid, I/We shall be debarred for participation in the re-tendering process of the work.

I/We hereby declare that I/We shall treat the tender documents drawings and other records connected with the work as secret/confidential documents and shall not communicate information derived there from to any person other than a person to whom I/We am/are authorized to communicate the same or use the information in any manner prejudicial to the satisfy of the state.

Dated:

Signature and address of the contractor

Witness :

Address:

Occupation

ACCEPTANCE

The above tender (as modified by you as provided in the letters mentioned hereunder) is accepted by me for and on behalf of the Vice Chancellor, IGNOU for a sum of Rs._____________ (Rs.

The letters referred to below shall form part of this contract Agreemnent.

(a)

(b)

©

Executive Engineer (E)

For and on behalf of Vice Chancellor, IGNOU

Signature and  Designation

SCHEDULE ‘F’

Reference to General conditions of the contract.

1.Name of work	Supply, installation, testing and commissioning of air-conditioners at IGNOU Campus, Maidan Garhi, New Delhi

Estimated cost of work 	Rs. 38,31,240/-

(i) Earnest Money	Rs. 76,625/-

(ii) Performance Guarantee	5% of tendered value

(iii) Security deposit	5% of tendered value

General Rules & Directions

Officer Inviting tender                    Executive Engineer (E), CMD

Maximum percentage for quantity of items of work to be

Executed beyond which rates are to be determined in

Accordance with Clauses 12.2 and 12.330%

Definitions

2(v) EngineerIncharge	Executive Engineer (E), CMD

2(viii) Accepting Authority	Vice Chancellor, IGNOU

2(x) Percentage on cost of material and labour to

cover all overheads and profits	15%

2(xi) Standard Schedule of Rates	Market Rates

2(xii) Department	CMD, IGNOU

9(ii) Standard CPWD contract form	CPWD form 8 as modified upto date

Clause-1

(i) Time allowed for submission of Performance Guarantee

from the date of issue of letter of acceptance	10 days

(ii) Maximum allowable extension beyond the period

provided in 1 (i) above				10 days-

Clause-2

Authority for fixing compensation under clause-2	Vice Chancellor, IGNOU

Clause-2A

Whether clause 2-A shall be applicable	No

Clause-5

Number of days from the date of issue of letter of acceptance

For reckoning date of start	10 days

Mile stone (s) as per table given below :

Table of Mile Stone(s)

| S.N. | Description of Milestone (Physical) | Time allowed in days (from dt of start) | Amount to be withheld in case of non-achievement of milestone |
| --- | --- | --- | --- |
| 1. | NA | NA | NA |
| 2. | NA | NA | NA |

Time allowed for execution of work	03 months

Clause 6,6A

Clause applicable (6 or 6-A)	6

Clause-7

Gross work to be done together with net payment/adjustment

of advances for material collected, if any, since the last

such payment for being eligible to interim payment			NA

Clause-10A

List of testing equipments to be provided by the contractor at site lab:-         NA

Clause-10B

Whether clause 10-B (ii) shall be applicable 	No

Clause 10-CA

| Material covered under this clause | Nearest material for which All India wholesale price index is to be followed |
| --- | --- |
| NA | NA |
| NA | NA |

Clause-10CC

Clause 10-CC to be applicable in contract with stipulated

period of completion exceeding the period shown in

next column	N.A.

Clause-11

Specification to be followed for execution of work	As per Technical Specifications

& conditions of the contract & as

per IS:1391 ammended upto date

Clause-12

12.2 & 12.3 – Deviation limit beyond which clauses 12.2 &

12.3 shall apply for building work	30%

12.5               Deviation limit beyond which clauses 12.2 &

12.3 shall apply for foundation work		-NA-

Clause-16

Competent authority for deciding reduce rates			Vice Chancellor, IGNOU

Clause-18

Mandatory Machinery, tools and plants to be deployed by the contractor at site as required.

Clause-36 (i)

Requirement of Technical Representative(s) and recovery rates

| S.N | Minimum Qualification of Technical Representative | Discipline | Description (Principal Technical/Technical Representative) | Minimum Experience | Number | Rate of recovery shall be made from the contractor in the event of not fulfilling provisions of clause 36(i) |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Figure | Words |
| 1 | Graduate Engineer | Electrical/ Mechanical |  | Nil | 1 | 10,000/- | Ten Thousand |
| 2 | Or Diploma Engineer | -do- |  | 5 years | -do- | -do- | -do- |

Assistant Engineers retired from Govt. services that are holding Diploma will be treated at Par with Graduate Engineers.

TECHNICAL BID

OFFERED TECHNICAL SPECIFICATIONS  FOR
HI WALL 2 TON  SPLIT AIR –CONDITIONERS

(TO BE FILLED BY THE AGENCY)

| Star Rating | Stars | 3 Star |
| --- | --- | --- |
| Nominal Cooling Capacity | K.Cal/hr |  |
| Cooling Capacity (Min) guaranteed | K.Cal/hr |  |
| Minimum Room discharge air flow | Cum/h |  |
| EER | W/W |  |
| Compressor | Type |  |

  - Model No. ……………………………………………………………………………………..

  - Make of Compressor for above Model …………………………………………………….

OFFERED SPECIFICATIONS FOR
HI WALL 1.5 TON  SPLIT AIR –CONDITIONERS

(TO BE FILLED BY THE AGENCY)

| Star Rating | Stars | 5 Star |
| --- | --- | --- |
| Nominal Cooling Capacity | K.Cal/hr |  |
| Cooling Capacity (Min) guaranteed | K.Cal/hr |  |
| Minimum Room discharge air flow | Cum/h |  |
| EER | W/W |  |
| Compressor | Type |  |

- Model No. ……………………………………………………………………………………..

- Make of Compressor for above Model …………………………………………………….

OFFERED TECHNICAL SPECIFICATIONS FOR
HI WALL 1.0 TON  WINDOW AIR-CONDITIONERS

(TO BE FILLED BY THE AGENCY)

| Star Rating | Stars | 3 Star |
| --- | --- | --- |
| Nominal Cooling Capacity | K.Cal/hr |  |
| Cooling Capacity (Min) guaranteed | K.Cal/hr |  |
| Minimum Room discharge air flow | Cum/h |  |
| EER | W/W |  |
| Compressor | Type |  |

  - Model No. ……………………………………………………………………………………..

  - Make of Compressor for above Model …………………………………………………….

OFFEREDTECHNICAL SPECIFICATIONS FOR
HI WALL 1.5 TON  WINDOW AIR –CONDITIONERS

(TO BE FILLED BY THE AGENCY)

| Star Rating | Stars | 3 Star |
| --- | --- | --- |
| Nominal Cooling Capacity | K.Cal/hr |  |
| Cooling Capacity (Min) guaranteed | K.Cal/hr |  |
| Minimum Room discharge air flow | Cum/h |  |
| EER | W/W |  |
| Compressor type | Type |  |

- Model No. ……………………………………………………………………………………..

- Make of Compressor for above Model …………………………………………………….

Name of work:	Supply, installation, testing and commissioning of air-conditioners at IGNOU Campus, Maidan Garhi, New Delhi.

SPECIAL CONDITIONS – TECHNICAL SPECIFICATIONS

  - Tender duly filled in by the agency shall be submitted in two separate envelopes.  One envelope contains Technical specifications. All required technical information as sought in the Technical bid be filled by the agency.  Earnest Money in requisite mode should also accompany with the technical specifications. The envelope containing technical specification should be clearly mentioned Technical Bid.

  - The Price bid should be submitted in second envelope. The envelope containing Price Bid should be clearly mentioned Price Bid.

  - Only Technical bids will be opened on the due date in the presence of intending agencies who wish to be present at the date and time of opening of tenders.  The Minimum required technical specifications are indicated as per S.N.  5 of special conditions – Technical Specifications.  The agencies are requested to fill up the data in technical specification form enclosed with special conditions.

On the basis of our technical requirements, the same will be evaluated by the department, and short-list the eligible qualified agencies.  The Price bids of the short-listed agencies will be opened on the date and time intimated later on. The University reserves the right to accept or reject any bid and agency will not claim anything on this account.

4.  In addition to the Technical specifications/parameters the sample of each type of Model shall be got tested from approved laboratory for specified parameter as per the directions of Engineer-in-charge if required the payment shall we made to the agency 70% only against the supply of material in good condition at site and remaining 30% payment shall be realized after final testing commissioning of the work.

- The Minimum technical requirements in respect of 2.0 ton and 1.5 ton air-conditioners are indicated below for the year2012-13as per BEE standard. The agency is requested to go through the same andfill up the data in the enclosed formate as per   Technical specification of the Air-Conditioners they have offered along with  make, model and make of compressor.

REQUIREDTECHNICAL SPECIFICATIONS FOR HI WALL 2 TON SPLIT AIR -CONDITIONERS.

| Star Rating | Stars | 3 Star |
| --- | --- | --- |
| Nominal Cooling Capacity | K.Cal/hr | 5800 |
| Cooling Capacity (Min) guaranteed | K.Cal/hr | 5500 |
| Minimum Room discharge air flow | Cum/h | 800 |
| EER | W/W | 2.90 – 3.09 |
| Compressor | Type | Rotary |

REQUIRED TECHNICAL SPECIFICATIONS  FOR HI WALL 1.5 TON  SPLIT AIR –CONDITIONERS.

| Star Rating | Stars | 5 Star |
| --- | --- | --- |
| Nominal Cooling Capacity | K.Cal/hr | 4500 |
| Cooling Capacity (Min) guaranteed | K.Cal/hr | 4275 |
| Minimum Room discharge air flow | Cum/h | 700 |
| EER | W/W | 3.30 |
| Compressor | Type | Rotary |

REQUIREDTECHNICAL SPECIFICATIONS  FOR HI WALL 1.0 TON  WINDOW AIR-CONDITIONERS.

| Star Rating | Stars | 3 Star |
| --- | --- | --- |
| Nominal Cooling Capacity | K.Cal/hr | 3000 |
| Cooling Capacity (Min) guaranteed | K.Cal/hr | 2850 |
| Minimum Room discharge air flow | Cum/h | 500 |
| EER | W/W | 2.90 – 3.09 |
| Compressor | Type | Rotary |

REQUIRED TECHNICAL SPECIFICATIONS FOR HI WALL 1.5 TON  WINDOW	         AIR –CONDITIONERS.

| Star Rating | Stars | 3 Star |
| --- | --- | --- |
| Nominal Cooling Capacity | K.Cal/hr | 4500 |
| Cooling Capacity (Min) guaranteed | K.Cal/hr | 4275 |
| Minimum Room discharge air flow | Cum/h | 700 |
| EER | W/W | 2.90 – 3.09 |
| Compressor type | Type | Rotary |

ADDITIONAL SPECIFICATIONS/PARAMETERS FOR WINDOW AND SPLIT AIR-CONDITIONERS

- Window type air-conditioner

- Air-conditioner unitary type fitted with Rotary Compressor, cooling capacity nominal (K cal/her) 4500, cooling cap (min) guaranteed (kcal/hr: 4275, Min Room discharge Air flow (cub.m/n): 700 EER (W/W): 2.90 – 3.09, star rating-3.

- Room air-conditioner Unitary type fitted with rotary Compressor, cooling capacity nominal (K cal/hr) 3000, Cooling cap (min) guaranteed (K cal/hr : 2850) Min Room discharge Airflow (cub m/h): 500 EER (W/W) : 2.90 – 3.09, Star rating-3.

B.	Split Type Air-conditioner

- Split air-conditioner fitted with Rotary Compressor of nominal cooling capacity K-cal/hr 4500, cooling cap (mim) guaranteed (K.cal/hr) 4275, Min Room discharge air flow (cum/h) 700, EER (W/W) 3.30 star rating 5.

- Split air-conditioner fitted with Rotary Compressor of nominal cooling capacity K.cal/hr 5800, cooling cap (min) guaranteed (k.cal/hr) 5500, Min Room discharge air flow (cum/h) 800, EER (W/W) 2.90 – 3.09 star rating 3.

For Window type air-conditioners

- Air-conditioner (AC) shall perform the functions of cooling, dehumidifying, air circulating and air filtering and shall be suitable for operation on 230V, 50 Hz single phase AC supply.

- The air conditioner shall be fitted with hermetically sealed suction cooled reciprocating or discharge cooled type rotary compressor (as applicable) operating on refrigerant R-22 run by suitably rated capacitor start electric motor. It shall be equipped with overload protection and shall be mounted on resilient mountings for quiet operation. Rotary compressor shall be of Matsushita/Hitachi/Toshiba/Carrier/Emerson/LG/Tecumseh Make and shall be supported by manufacturers test certificate and TTC to JISS or ASHRAE.

- The air conditioner shall be complete with automatic temperature control and cut in and cut out etc. for temperature range 16 to 30 degree C. The differential of the thermostat for cut-in and cut-out shall not be greater than +/- 1.75 degree C. The air conditioners may either be provided with adjustable step less type mechanical thermostat or electronic thermostat as per IS : 11338:1985. The overall power factor of the units shall be 0.9 at capacity rating test conditions.

- Cabinet shall be manufactured from a minimum sheet thickness 1.20mm for base and 0.70 mm for the rest with galvanized coating of 120 gsm. The galvanized steel sheets shall conform to IS 277:2003 (Re-affired 2007). The sheets shall be stove enameled or power-coated. In both cases sheets shall be degreased, phosphate and provided with primer coat. The air filters provided shall be of cleanable type and synthetic make.

- Sample of each type/model of air conditioners shall be type tested for cooling capacity and EER value by psychometric method to IS requirements either at suppliers workshop or at a place where facilities are made available by them in presence of the Inspecting officer before offering the first lot for inspection.

- Servicing : Free service shall be provided by the supplier during the warranty period for a period of 15 months from the date of dispatch or 12 months from the date of installation of air conditioner whichever is earlier. Even in case of no complaint, at least three visits of the service engineer are required to be made during the warranty period for routine servicing.

For Split type Air-Conditioners

- Air conditioners suitable for 230V, 50 Hz single phase AC supply shall be capable of performing the functions as cooling, dehumidifying, air circulating and filtering. The air conditioners shall be complete with automatic temperature control and cut in and cutout etc. for temperature range 16 to 30 degreeC. The differential of the thermostat for cut-in and cut-out shall not be greater than +/- 1.75 degreeC. The air conditioners may either be provided with adjustable step less type mechanical thermostat or electronic thermostat as per IS: 11338:1985. The ECO friendly air conditioners shall have ECO MARK from Bureau of Indian Standard.

- Outdoor unit of the air conditioners shall be fitted with hermetically sealed type discharge cooled type rotary compressor (as applicable) operating on Refrigerant R-22 (or non-CFC refrigerant in case of Eco-friendly Split Air conditioner) with suitably rated capacitor start electric motor. It shall be equipped with overload protection and shall be mounted on resilient mountings for quiet operation. The rotary compressor shall be of Matsushita/Hitachi/Toshiba/Carrier/Emerson/LG/Tecumseh Make and shall be covered by manufacturers test certificate and TTC to JISS or ASHRAE.

- The minimum thickness of the base in outdoor unit shall be 1.20 mm and sheet thickness for rest of the body shall be 0.70 mm (Min.) with galvanized coating thickness of 120 g/sq.m and shall be provided with stiffeners for robust construction and shall have rounded corners. Galvanized sheet shall conform to IS: 277/2003. Steel parts/front panel etc. shall have sotve-enamelled finish proceeded by thorough cleaning of the surface, phosphate and undercoat of anti-corrosive primer paint. Alternate methods of corrosion protection like plastic powder coating, electrostatic paintings shall also be acceptable in lieu of stove-enameled finish.

- The casing of the indoor units shall be made of ABS/HIPS/GS and shall be impact resistant. The control box of indoor unit shall withstand flame retardant test to Grade V-O as per UL-94. For impact resistance the unit duly packed and dropped from a height of 1 m shall show no damage. The filter pads provided shall be washable.

- Remote cordless control with LCD/LED Display shall be provided with one on/off timer, selecting fan speed (three speed) and setting up of temperature. Display shall be provided on indoor unit or on handset or on both.

- Maximum power consumption of the split air conditioners shall be measured at capacity rating test conditions. Overall power factor of the unit shall be at least 0.85 at capacity rating test conditions.

- Sample of each type/model of air conditioners shall be type tested for cooling capacity and EER value by psychometric method to IS and rate contract requirements either at suppliers works or at a place where facilities are made available by them in presence of the inspecting officer before offering the first lot for inspection. Standard evaluation of cooling capacity shall be done by connecting indoor and outdoor units with piping of 5 m length with six bends of standard radius. Connecting copper tubing shall have dimensions suitable for the compressors offered with model.

- Details of add on items of interconnecting cable and pipes beyond 6 mtrs. Length and power cable beyond 3 mtrs. if required, on per mtr. basis.

  - Suction line copper pipe of 0.70mm thickness.

  - Discharge line copper pipe of 0.70m thickness.

  - Expanded polyethylene foam insulation tubing for suction line copper pipe.

  - Drain pipe (15 mm diameter rigid PVC pipe).

  - Power cable 3 core PVC insulated copper wire 2.5 sq mm to connect both the units with each other.

- Servicing: free servicing shall be provided for 15 months from the date of dispatch or 12 months from the date of installation of air-conditioner whichever is earlier. Firm is also required to send service engineer at least 3 times during the warranty period.

- Installation : the installation charges consignee’s site shall include the following work:

  - Mounting/fitting indoor and outdoor units at the respective locations.

  - Laying refrigerant piping of 6 mtrs length and connecting both the units after drilling hole/holes in the wall, if required. The thickness of the copper tubing shall not be less than 0.70mm.

  - Insulating the suction pipe with expanded polyethylene foam with 5mm thick tubing.

  - Laying 15 mm drain pipe 6 m to drain out the condensate water being formed in the indoor unit.

  - Leak testing of the entire system.

  - Charging refrigerant gas in the unit.

  - Suitable electric wiring between indoors and outdoors units up to 6 mtrs. Length up to switch within 3 m of location of indoor unit. Switches/sockets/plugs are not included in the scope of supply.

11.	Inspection: The following inspection procedure for acceptance test shall be followed:

- Comparing the features of both indoor and outdoor units with those of type tested units.

- One unit out of up to every 50 units subject to minimum one shall be assembled by the firm at their works and will be tested for capacity rating test as per contract specification.

EXECUTIVE ENGINEER (ELECT)

Name of work:	Supply, installation, testing and commissioning of air-conditioners at IGNOU Campus, Maidan Garhi, New Delhi.

SPECIAL CONDITIONS – PRICE BID

  - The Price bid of eligible agencies who will qualify the technical specifications will be opened.  The agency is also requested to visit the site of supply and installation before quoting the rates.

  - The air-conditioners supplied and installed shall be under Warranty of one year from the date of its installation at site and compressor will be under warranty for another 4 years from the completion of one year guarantee for full machine.

  - The agency will supply and install the air-conditioners strictly to the schedule given in schedule ‘F’ of tender documents, failing which penalty as per clauses of agreement will be imposed.

  - The quantities shown in the schedule are tentative and can be increased or decreased to the extent of 30% as per agreement.  The agency will not claim any extra rates for these deviated quantities, if any and shall be paid as per agreement rates.

  - The rates quoted by the agency will be inclusive of all taxes like Excise duty and VAT etc  and nothing extra beyond the quoted rates shall be payable.

  - The prices quoted by the agency will be FOR at IGNOU site.  Cartage, loading, un-loading and testing charges will be inclusive in rates and nothing extra shall be payable on this account.

  - The agency will not be paid anything extra for copper pipes, drain pipes, interconnecting wiring/cables, refrigerant gas etc.

  - If during the period of installation, any fitting or fixture etc. got damaged by the agency’s labour, the same shall be made good by the agency at his risk and cost.

  - Manufacturer’s test report of each machine as well as report from the deptt of Bureau of Energy Efficiency (Govt of India) for the respective Model for Star rating and from Directorate of Quality Assurance (Govt of India) for quality assurance shall be submitted by the agency along with challan of delivery.

  - Before award of work, the agency will submit a Performance Guarantee @ 5% of the tendered cost which shall be refunded to them after satisfactory completion of work.

  - 5% of Security deposit shall be recovered from the payment of the agency.  Earnest money as deposited earlier shall be adjusted therein.  The amount of Security deposit as recovered shall be refunded after one year from the date of actual completion of work.

12.	The rates quoted by the agency for every capacity is valid for consideration upto ninety days from the date of opening of tender.  In case the University felt more requirement upto the limit as specified in the contract, the agency will supply and install the machinery at their quoted rates and nothing extra will be paid.

13.	The agency will be responsible for servicing of Air-conditioners, atleast twice in a season under warranty (period once just before start of the season and once during end of the season).  The reports for which have to be submitted to the department.

Executive Engineer (Elect)

PRICE BID

SCHEDULE OF QUANTITY

Estimated cost :Rs. 38,31,240/-

Earnest Money: Rs. 76,625/- in the shape of DD/Pay order in favour of IGNOU

Time allowed  : 3 months

Name of work : Supply, installation, testing and commissioning of  Air-conditioners  at IGNOU  Campus, Maidan Garhi

S.No.		Description of items								Qty		Unit		Rate		Amount

________________________________________________________________________________________________________________________________________________

1.Supply of Split air-conditioners of the following capacity with

Remote control :

(a) 1.5 ton capacity :	1 no.	each

(b) 2.0 ton capacity	46 no.	each

2.Supply of window type air conditioners of the following capacity

with remote control :

(a) 1.0 ton capacity :	Rate only	each

(b) 1.5 ton capacity :	85 no.	each

3. Installation charges for window type air conditioner :	85 no.	each

4. Installation charges for split  air conditioner :	47 no.	each

5. S/F of automatic voltage stabilizer of suitable for single phase, 50 Hz A.C supply

in three steps with following input/output operating voltage (input 145V to 280V)

and (out put 200 V to 240 V) wall hanging type

(a)  4 KVA capacity of Blue bird/Logistate/Voltas make :	86 no.	each

(b) 5 KVA capacity of Blue bird/Logistate/Voltas make:	46 no.	each

6.  Supply and fixing  of wall mounted/floor placed base frame for mounting condensing unit

for split air conditioner – Material Mild steel finish - powder coated with mounting

accessories :	47 nos.	each

______________________________________________________________________________________________________________________________________________

Executive Engineer (E)